## Instructions
Template for suggesting changes to next generation miniSEED specification
Commenting on document version # | Notes for some rows | In this cell put the version number of the miniSEED specification (draft date) you are referring to
Topic |  | Place a general subject that captures the topic
Type of Action (Modification, Addition or Deletion) |  | In this cell enter Modification for modifying an existing section, Addition for adding a new section or Deletion for deleting an existing section
Current wording from document | Applies to Modification or Deletion | Copy and paste the exact wording from the section of the current document you are addressing for an action of either a Modification or Deletion.
New wording | Applies to Modification or Addition | For actions of Modification or Addition provide the exact wording you wish to be considered.
Rationale |  | The reasoning for the proposed change.
Author, organization, email |  | Enter your name organization and email address.
Date of Comment |  | Enter today's date.
You must enter something in all of the green cells

## Example
Template for suggesting changes to next generation miniSEED specification
Commenting on document version # |  | 2016-3-30
Topic |  | Expanding the network code
Type of change (Modification, Addition or Deletion) |  | Modification
Current wording from document | Applies to Modification or Deletion | Expand the network code field, in coordination with equivalent StationXML changes. ○ Recommendation: 6 characters
New wording | Applies to Modification or Addition | Expand the network code field, in coordination with equivalent StationXML changes. ○ Recommendation: 8 characters
Rationale |  | We are running out of network codes and need a larger field for future network designations. 8 characters should provide plenty of space for future needs and allow full, 4-digit years in the temporary network code convention.
Author, organization, email |  | Tim Ahern, IRIS, tim@iris.washington.edu
Date of Comment |  | 2016-4-27

## General
Commenting on document version # |  | 2016-3-30
Topic |  | General Comment
Type of change (Modification, Addition or Deletion) |  | Modification
Current wording from document | Applies to Modification or Deletion | Paraphrase: "Omit information that is in some cases vital or at least useful to detailed understanding of the data acquisition environment and quality of the recorded data"
New wording | Applies to Modification or Addition | Recommendation: Understand the detailed SOH information that should be synchronously attached to waveform data, and suppress the urge to simplify to the point of loss of essential or useful information.
Rationale |  | While developing and improving the widely accepted format revisions should be careful not to eliminate or force into the opaque “gray market” information that currently is defined and documented in the readily-accessible published format specification and is relevant and useful for the proper interpretation of the data and for understanding of the recording environment.
Author, organization, email |  | Edelvays Spassov, Kinemetrics, ens@kmi.com
Date of Comment |  | 5/18/2016

## 6 Bit Flags
Template for suggesting changes to miniseed specification
Commenting on document version # | M=modification, N= add new section, D=Delete existing section | Delete
Topic |  | Dropped bit-flag fields
Type of Action (M=modification, N= add new section, D=Delete existing section) |  | Dropped/Delete
Current Wording from document | Applies to M or D | Drop
New wording | Applies to M or N | Define at least 16 bits for status bytes, and retain Event and Calibration flags as described below in the Rationale.
Rationale |  | Presently, the following ACTIVITY FLAGS are set in the FIXED HEADER. They should be retained in a new set of simplified bit-flags. 1) Calibration in Progress - At least some portion of this data record contains calibration data. This is a useful flag both to quickly find calibration data, and to ignore processing these data as earthquake data. This flag is set in any channel affected by a calibration operation. Some operations perform event detection in the field, and set the following bits. Removing the flags will add ambiguity. 2) Event In Progress - Event detector is on for at least some portion of this data record. 3) Begin Event - An event starts in this data record. In addition, a bit presently set in the Data Extension Blockette (1001) of Quanterra systems flags the contents as recorded only when an event is detected. This is useful to recognize whether discontinuous recording is expected. This bit should be defined and moved into the new abbreviated status 4) Event Only - This data stream is only active during an event. Helps to determine when there has been an actual data gap. This is particularly useful in field recording.
Comments: Author, organizatino, and email |  | Edelvays Spassov, Kinemetrics, ens@kmi.com
Date of Comment |  | 2016-05-18

## 9 Compression
Template for suggesting changes to miniseed specification
Commenting on document version # | M=modification, N= add new section, D=Delete existing section | Modification
Topic | Topic | General Compression and Opaque data encoding
Type of Action (M=modification, N= add new section, D=Delete existing section) | Type of Action (M=modification, N= add new section, D=Delete existing section) | Modification
Current Wording from document | Applies to M or D | Define encodings for a genera l compression method for fundamental data types. Also define an encoding for opaque data. Suggestion: Encoding 50: 32-bit integers,general compressor Encoding 51: 32-bit IEEE floats,general compressor Encoding 52: 64-bit IEEE floats,general compressor Encoding 100: Opaque data
New wording | Applies to M or N | Suggestion: Encoding 50: generic tagged compressor Encoding 100: Opaque data
Rationale |  | There are numerous LZ-based and other generic lossless compression algorithms. This is a field of continuous development. "Standards" can have a half-life of a few years. The suggestion is to define a single new "generic" encoding type, and to use the payload, for example with an introductory ascii tag or other means,, to define the specific encoding method to follow. This is extensible, and flexible. This approach is already discussed in the VAR field for opaque headers. For example, “ALGORITHM=BROTLI2027,TEXT~”, followed by whatever. While LZ-based algorithms like 7-zip or Brotli are great with text (e.g. station xml), generic dictionary-based compression is not particularly effective for continuous 1-D time series data (like seismic, acoustic, barometric…etc). A time series format based on generic compression methods consumes significantly (ordes of magnitude) more resources (memory, cycles) than the efficient methods in use now with little benefit in data volume reduction.
Comments: Author, organizatino, and email |  | Edelvays Spassov, Kinemetrics, ens@kmi.com
Date of Comment |  | 2016-05-18

## 13 Fixed point data sample enco
Template for suggesting changes to miniseed specification
Commenting on document version # | M=modification, N= add new section, D=Delete existing section | Add
Topic |  | Fixed point data sample encoding
Type of Action (M=modification, N= add new section, D=Delete existing section) |  | Add
Current Wording from document | Applies to M or D | Change: Include a fixed-point,constant resolution data sample encoding and define a representation Suggestion: Evaluate the need for this and determine a representation. Two options: 1) Adopt Q for a number format,is binary format defined? 2) Define an encoding as a single resolution value followed by integer data. Fixed-point values are restored by shifting the decimal place according to the resolution value.
New wording | Applies to M or N | The suggestion is to define, for example, an IEEE float scaling factor in the header or in some optional embedded structure, to be applied to the compressed integer time series to follow, allowing for the represenation of data with arbitary scaling and up to 32-bit resolution of the effective "mantissa".
Rationale |  | The compression methods commonly in use, e.g. Steim1, Steim2,and others refer to an original signed 32-bit integer time series. With the addition of one float scaling factor, such a compressed series can represent any value with full 32-bit resolution of the mantissa. This representation would be a good application for an optional “scaling blockette”. Perhaps the proposal to do away with all blockettes is pre-mature? Addition of a scaling values allows infrastructure accomodating any of the existing compression methods to support arbitrarily scaled data with minimal changes.
Comments: Author, organizatino, and email |  | Edelvays Spassov, Kinemetrics, ens@kmi.com
Date of Comment |  | 2016-05-18

## 14 No SEED 2.4 blockettes
Template for suggesting changes to miniseed specification
Commenting on document version # | M=modification, N= add new section, D=Delete existing section | Modification
Topic | Topic | Blockettes
Type of Action (M=modification, N= add new section, D=Delete existing section) | Type of Action (M=modification, N= add new section, D=Delete existing section) | Modification
Current Wording from document | Applies to M or D | Change: a) Remove support for blockettes. b) Include support for opaque headers. Suggestion: a) Remove the blockette count field,the blockette offset field and define no blockettes. b) Use a single byte to include a count of opaque headers and define the header values to be UTF-8 text.
New wording | Applies to M or N | Include documented content defintiions for certain types of information now contained Blockettes.
Rationale |  | Blockettes in MSEED 2.4 provide a means of incorporating optional or infrequent information in data records, synchronously with the affected channel(s) without burdening each fixed data record header with large amounts of unused fields. The spirit is good, but the execution as a linked list is awkward. In the present MS3 straw man, the elimination of all blockettes would leave considerable amounts of information that is presently documented and defined in the published MS2.4 standard in the contents of blockettes without an accepted definition. This increases ambiguity and forces useful information into the "gray market" in the form of opaque data. The use of opaque data provides flexibility, but at the cost of inaccessibility. The suggestion is to define and document certain types of opaque content that would incorporate the information in those useful, and used, blockette definitions now in MS2.4. This would allow the elimination of blockettes, but would retain published forms for representation of the information that at least some subset of present MS2.4 blockettes contain. For example, the information in event detection, calibration, and timing blockettes could be defined in equivalent content within opaque data. If these definitions are not published, the information is essentially inaccessible.
Comments: Author, organizatino, and email |  | Edelvays Spassov, Kinemetrics, ens@kmi.com
Date of Comment |  | 2016-05-18

## 16 Eliminate Time Quality field
Template for suggesting changes to miniseed specification
Commenting on document version # | M=modification, N= add new section, D=Delete existing section | Delete
Topic |  | Eliminate Time Quality Field
Type of Action (M=modification, N= add new section, D=Delete existing section) |  | Delete
Current Wording from document | Applies to M or D | Suggestion: Remove the 32-bit timing quality field.
New wording | Applies to M or N | Retain a one-byte "Time Quality" value in the fixed data record header. Document snad standardize the definition, since time quality defined in some way and recorded synchronously with waveform data is an essential requirement for valid interpretation of the data. A value not in the range 0-100 can be assigned to indicate "not used" if a writer elects not to include an estimate of time quality. Timing status bits elsewhere in the header may be redundant if the time quality definition encompasses states corresponding to the defintion of these bits.
Rationale |  | The credibility of the time stamp in the waveform header is a key metric contributing to the ability to interpret the time series correctly. A data logger has only a rendition of time, estimated to the best of its ability based on a number of factors. The data logger’s notion of “time” is, or should be, a vector valued function consisting of not only the time label, but a measure of the validity – or if known, the error – of the label. This concept is discussed in a recent publication, http://dx.doi.org/10.1016/B978-0-444-53802-4.00023-3 Various implementations of data loggers may apply more or fewer qualifications to their estimate of time. We introduced the concept over 25 years ago of a time quality on a percent scale that attempts to assign a measure of the likely accuracy, and the representation of "time quality" was incorporated in the Timing Blockette (to flag significant changes in timing system state) and the Data Extension Blockette in order to attach the time quality estimate to the time tag in each fixed data record header. This scale is documented, and though arbitrary in its definition, concisely summarizes an essential description of the quality of the associated time label. The time quality attains a maximum when multiple qualifying metrics are met, diminishing at a defined rate (1%/10min) when one or more of these criteria are not met. A suggestion in the MS3 straw man to perhaps retain time quality in the header if time quality can be defined in terms of a time error cannot be in general realized, since if the time error is known, the time label can be improved and the error reduced. We do the next best thing, which is to incorporate in the time quality value a representation of the time since the last known quality state was achieved. The proposed change in the MS3 straw man retains only two bits pertaining to an estimate of time quality: “questionable” and “locked”. Yet without definition of how these should be applied, they are ambiguous. For example, a digitizer’s GPS receiver may be “locked” to a satellite while the digitizer’s clock free runs, or a digitizer's phase-locked-loop can be "locked" to a spurious time source. The time of an instantaneous sample "locked" to an external time reference point may not yield any information about the uniformity of the digitizer's sampling. So what does “locked” mean? Similarly, what does “questionable” mean? The "locked" and "questionable" bits may be redundant if time quality is included. In the case of a Quanterra system, the “locked” bit is set when quality is ≥ 80%, although 81% to 100% encompasses a great range in terms of physical state of the timing system. For example, the values 0-10% correspond to no valid time since reboot; 11-59% means that time was acquired at least once since reboot, but the timebase has been running for some time between 10-500 minutes since the last external time reference; 60-79% means that the time is accurate, but the timebase frequency is not tracking; 80-89%means the timebase frequency was tracking but is currently in a hold state; 90-99% means the timebase is tracking; 100% means that the timebase is accurate and frequency is locked. Time is guaranteed correct for any value 60% or higher. In a system where the GPS is power-cycled, after acquisition of time and stabilization of the time base’s PLL, the GPS is switched off, and the quality decreases at the rate of 1% per 10min. Typically no more than a few hundred microsec error can accumulate in the standard 3-hr off cycle. So effectively, quality is acceptable in the range 11% or higher. If GPS time has been missing longer than 500 minutes, the quality decreases to 10%. Time quality 10% or less should be considered not meaningful. In particular, time quality <10% means there was never any GPS time acquired. The time is meaningless in this case. If the problem is that the definition of "locked" or “time quality” is not in station metadata, the solution is not to eliminate this vital information, but to define the meaning in the metadata. Certainly a definition of what "time quality" means in the context of different acquisition systems is as important as the various vendor-specific sensor responses. Time is fundamentally important to the valid interpretation of recorded data. Ignoring time quality in the MSEED format definition is not a good direction. The use of time quality by writers and readers should be encouraged. While the recording of SOH parameters (including time quality, and other metrics of the timing system) as time series (a concept we introduced in miniSEED) is extremely valuable (and should be strongly encouraged) for overall data quality assurance, these SOH time series are typically not considered simultaneously in seismological data analyses, if the information is available at all to users. Information regarding the integrity of the time label is so fundamental that it belongs synchronously attached to the time label in each data record, and its meaning documented in the format. Users should be encouraged to take the value into account if present.
Comments: Author, organizatino, and email |  | Edelvays Spassov, Kinemetrics, ens@kmi.com
Date of Comment |  | 2016-05-18

## TIming Blockettes (500)
Template for suggesting changes to miniseed specification
Commenting on document version # | M=modification, N= add new section, D=Delete existing section | Modification
Topic | Topic | Information necessary for valid interpretation of data and system integrity
Type of Action (M=modification, N= add new section, D=Delete existing section) | Type of Action (M=modification, N= add new section, D=Delete existing section) | Modification
Current Wording from document | Applies to M or D | Remove all blockettes
New wording | Applies to M or N | Suggestion: Retain the information now presented in Timing Blockettes (500). This blockette was added at Quanterra's behest, because the SEED format definition does not adeqately define representations for this information. The existing "blockette" form is not required, but the information is mandatory for valid interpreation of the timing system integrity.
Rationale |  | 2) Blockette 500 – Timing Blockette. For many of the reasons discussed above in the context of timing quality, the fully defined description of the recording environment pertaining to the timing system should be present in the format. The existing blockette definition allows the condition of the timing system to be recorded in a documented fashion. How would this information be handled otherwise? If represented as opqaue data, this information moves into the "gray" information market, moving backward from the present defined state in the format.
Comments: Author, organizatino, and email |  | Edelvays Spassov, Kinemetrics, ens@kmi.com
Date of Comment |  | 2016-05-18

## Calibration Blockettes
Template for suggesting changes to miniseed specification
Commenting on document version # | M=modification, N= add new section, D=Delete existing section | Modification
Topic | Topic | Information necessary for valid interpretation of data and system integrity
Type of Action (M=modification, N= add new section, D=Delete existing section) | Type of Action (M=modification, N= add new section, D=Delete existing section) | Modification
Current Wording from document | Applies to M or D | Remove all blockettes
New wording | Applies to M or N | Suggestion: Retain the information now presented in Calibration Blockettes (e.g. 300...etc). This blockette was added at Quanterra's behest, because the SEED format definition does not adeqately define representations for this information. The existing "blockette" form is not required, but the information is mandatory for valid interpreation of applied calibration signal sources.
Rationale |  | There is currently an extensive array of calibration blockettes that define in a published and accessible manner the nature of calibration signals applied. This information is embedded in the channel data with which the calibration is associated. How do you propose to represent this information? Doing so in undefined or vendor-specific opaque structures will add to ambiguity.
Comments: Author, organizatino, and email |  | Edelvays Spassov, Kinemetrics, ens@kmi.com
Date of Comment |  | 2016-05-18

## Event Detection Blockettes
Template for suggesting changes to miniseed specification
Commenting on document version # | M=modification, N= add new section, D=Delete existing section | Modification
Topic | Topic | Information useful for intepretation of field-system event detections
Type of Action (M=modification, N= add new section, D=Delete existing section) | Type of Action (M=modification, N= add new section, D=Delete existing section) | Modification
Current Wording from document | Applies to M or D | Remove all blockettes
New wording | Applies to M or N | Suggestion: Retain the information now presented in Event Detection Blockettes (e.g. 200, 201...etc). Some of these blockettes were added at Quanterra's behest, because the SEED format definition does not adeqately define representations for this information. The existing "blockette" form is not required, but the information is mandatory to contain information about event detections made in the recording system based on the waveform data.
Rationale |  | Some operations perform event detection in the field. There is currently an array of blockettes that define in a published and accessible manner the characteristics of event triggers. This information is embedded in the channel data with which the event trigger is associated. How do you propose to represent this information? Doing so in undefined or vendor-specific opaque structures will add to ambiguity.
Comments: Author, organizatino, and email |  | Edelvays Spassov, Kinemetrics, ens@kmi.com
Date of Comment |  | 2016-05-18

## 17 Variable Record Length
Template for suggesting changes to miniseed specification
Commenting on document version # | M=modification, N= add new section, D=Delete existing section | Delete
Topic |  | Variable Record Length
Type of Action (M=modification, N= add new section, D=Delete existing section) |  | Remove/Delete
Current Wording from document | Applies to M or D | We might consider making the record length and sample count fields 16 bit integers, limiting records to a maximum 65,535 bytes and the same number of samples.
New wording | Applies to M or N | A compressed record of 65K length may contain many more than 65K samples. A 16-bit sample count would be inadequate. Is a 65K record really useful? At many common sample rates, time tags would be sparse, reducing redundancy of time tags as a tool in verification of timing system stability.
Rationale |  | What is the rationale to expand record lengths? Little if any efficiency improvements would accrue.
Comments: Author, organizatino, and email |  | Edelvays Spassov, Kinemetrics, ens@kmi.com
Date of Comment |  | 2016-05-18

## 10 Add CRC Field
Template for suggesting changes to miniseed specification
Commenting on document version # | M=modification, N= add new section, D=Delete existing section | Modification
Topic | Topic | Add CRC for data integrity
Type of Action (M=modification, N= add new section, D=Delete existing section) | Type of Action (M=modification, N= add new section, D=Delete existing section) | Modification
Current Wording from document | Applies to M or D | Change: Add field for CRC or other checksum to be used for validating data integrity. Suggestion: Add 32-bit field for a CRC-32 value. For non-opaque data this is the CRC of the decoded data, for opaque data this is the CRC of the opaque payload.
New wording | Applies to M or N | Suggestion: This is a good idea. We offer the definition of the 32-bit CRC already used in Quanterra products. Many software systems already have code for generating and verifying this CRC, and software implementations are already in the public domain.
Rationale |  | Use of a single algorithm for 32-bit CRC management leverages present infrastructure.
Comments: Author, organizatino, and email |  | Edelvays Spassov, Kinemetrics, ens@kmi.com
Date of Comment |  | 2016-05-18